Australian Capital Territory

# Utilities (Technical Regulation) Listed Dams Determination 2019

## Disallowable instrument DI2019–205

made under the

Utilities (Technical Regulation) Act 2014*,* s 69 (Listing of certain dams)

### EXPLANATORY STATEMENT

This explanatory statement relates to the *Utilities (Technical Regulation) Listed Dams Determination 2019*. It has been prepared in order to assist the reader of the disallowable instrument and to help inform debate on it. It does not form part of the disallowable instrument.

The explanatory statement must be read in conjunction with the disallowable instrument. It is not, and is not meant to be, a comprehensive description of the disallowable instrument. What is said about a provision is not to be taken as an authoritative guide to the meaning of a provision, this being a task for the courts.

**Overview**

In 2018, by DI2018-234, the Technical Regulator determined 16 dams owned by Icon Water and 15 dams owned by the ACT Government as ‘listed dams’ under section 69 of the *Utilities (Technical Regulation) Act 2014* (the ***Act***).

This determination adds a further 3 listed dams:

* 2 dams owned by Queanbeyan-Palerang Regional Council (QPRC)
* 1 proposed dam owned by the ACT Government (the Lower Deep Creek Dam)

**Background**

Part 8 of the Act introduces a uniform framework for dam safety regulation in the Territory. Section 58 of the Act requires all existing or proposed dams in the Territory that are more than 5m high or have a water storage capacity of more than 250ML to be included in a public dams register (‘registrable dams’). A dams register is maintained in accordance with section 58 of the Act and currently includes 40 dams. The dams register is accessible on the [Access Canberra website](https://www.accesscanberra.act.gov.au/app/services/dams_register).

Section 59 of the Act provides that the Technical Regulator must determine the ‘required information’ to be provided for registrable dams. The required information was determined in May 2015 (NI2015-188) and includes a consequence category assessment made by the dam owner. This assessment provides guidance on the risk of a dam to the community in the event of the failure of the dam and is made according to the *ANCOLD Guidelines on Dam Safety Management* (2003).

Section 69 of the Act requires the Technical Regulator to consider the information provided in relation to registrable dams and determine a list of the dams that present a risk of significant adverse effects on the community in the event of the failure of the dam (‘listed dams’). All listed dams must comply with the *ACT Dam Safety Code 2018* (the Code).

Icon Water, relevant ACT Government agencies and QPRC operate registrable dams and have provided the Technical Regulator with an assessment of the consequence category of each dam. A ‘Significant’ consequence category generally indicates that the consequence of failure of a dam could result in loss of life and cause minor damage. ‘High C’, ‘High B’, ‘High A’ and ‘Extreme’ categories indicate correspondingly more severe consequences.

It must be noted that the risk of adverse effects in the case of failure is not at all related to the risk of failure. A dam with an associated high risk of adverse impacts in the case of failure can be, and usually is, a safe dam; that is, its risk of failure is very low.

The following 16 Icon Water dams are assessed as follows:

|  |  |  |
| --- | --- | --- |
|  | **Dam Name** | **Consequence Category** |
| 1 | Aranda WS Reservoir | High C |
| 2 | Bendora Dam | High A |
| 3 | Campbell Water Supply Reservoir | High C |
| 4 | Corin Dam | Extreme |
| 5 | Cotter Dam | Extreme |
| 6 | Cotter Saddle Dam 1 | High A |
| 7 | Cotter Saddle Dam 2 | High A |
| 8 | Googong Dam | Extreme |
| 9 | Googong Saddle Dam | Extreme |
| 10 | Higgins Water Supply Reservoir | High C |
| 11 | Kambah Water Supply Reservoir | High C |
| 12 | Lower Molonglo Water Quality Control Centre Bypass Dam | Low |
| 13 | Mugga Water Supply Reservoir | High C |
| 14 | O’Connor Water Supply Reservoir | High C |
| 15 | Spence Water Supply Reservoir | High C |
| 16 | Stromlo Catch Dam | Significant |

The following 16 dams operated by the ACT Government are assessed as follows:

|  |  |  |
| --- | --- | --- |
| 1 | Coombs A | High C |
| 2 | Coombs B (Holdens Creek) | High C |
| 3 | Cravens Creek | High C |
| 4 | Ginninderra Dam | Extreme |
| 5 | Gungahlin Dam | Extreme |
| 6 | Isabella Weir | High B (Augmented) |
| 7 | Jerrabomberra Retarding Basin | Significant |
| 8 | Lower Deep Creek Dam | High C |
| 9 | Lower Stranger Pond | Significant |
| 10 | Point Hut Dam | Significant |
| 11 | Southwell Park Retarding Basin | Significant |
| 12 | Tuggeranong Dam | Significant |
| 13 | Upper Stranger Pond | Significant |
| 14 | Upper Deep Creek Dam | High C |
| 15 | Wrights retardation basin (Condor) | High |
| 16 | Yerrabi Dam | Extreme |

The following 2 dams operated by Queanbeyan-Palerang Regional Council are assessed as follows:

|  |
| --- |
|  |
|  | Queanbeyan Sewage Treatment Plant Maturation Pond 2 | Significant |
|  | Queanbeyan Sewage Treatment Plant Maturation Pond 3 | Significant |

The disallowable instrument determines the above dams to be listed dams.

All of the above dams have been assessed as being in the ‘Significant’ consequence category or higher, except for the Lower Molonglo Water Quality Control Centre Bypass Dam.

Failure of the Lower Molonglo Water Quality Control Centre (LMWQCC) Bypass Dam has a ‘Low’ consequence category in dam safety terms. However, failure of this dam would result in significantly increased likelihood that the LMWQCC could breach its EPA licence for discharges to the Molonglo River during the period required to repair or replace the dam. This could have environmental and reputational implications for Icon Water and the ACT Government. Accordingly, it is appropriate that this 30m high dam continue as a listed dam under section 69 of the Act.

QPRC Maturation Ponds 2 and 3 have a “Significant’ consequence category principally because failure of either of these ponds has the potential to cause environmental impacts in Lake Burley Griffin and a small section of the Molonglo River immediately upstream of the lake. Such a failure could have reputational implications for both QPRC and the ACT Government as regulator of dams in the ACT.

Section 72 of the Act provides that the Technical Regulator must prepare a technical code to identify and regulate the safety of listed dams. The Code (DI2018-202) was approved by the Minister for the Environment and Heritage on 15 June 2018, and requires compliance with the *ANCOLD Guidelines on Dam Safety Management*. Under section 75 of the Act the owners of listed dams must comply with the Code.

There is a public interest purpose in listing these dams, as it provides information to the community, developers and other relevant government agencies about the location of higher risk consequence category dams.

**Regulatory Impact Statement**

A regulatory impact statement (RIS) is not required for this disallowable instrument as it is unlikely to impose appreciable costs on the community (section 34 (1) of the *Legislation Act 2001*). Further, in accordance with section 36 (1) (b) of the Legislation Act, a RIS is not necessary as the instrument does not operate to the disadvantage of anyone by adversely affecting the person’s rights or imposing liabilities on the person. Specific regulatory requirements are imposed by the Code, which is subject to a RIS.

**Scrutiny of Bills Committee Terms of Reference**

The determination is consistent with the Legislative Assembly’s Scrutiny of Bills Committee Terms of Reference. In particular, the determination:

1. is in accordance with the general objects of the Act under which it is made.
2. does not unduly trespass on rights previously established by law, as it does not affect any person’s rights
3. merely serves to give effect to an aspect of the previously enacted regulatory regime.

**Outline of Provisions**

**Clause 1 Name of Instrument**

This section provides the name of the instrument.

**Clause 2 Commencement**

Clause 2 states that the instrument commences on the day after it is notified.

**Clause 3 Determination**

Clause 3 is the Technical Regulator’s determination of listed dams as specified in the schedule. It determines 33 Icon Water, ACT Government and Queanbeyan-Palerang Regional Council dams as listed dams.

**Clause 4 Revocation**

Clause 4 revokes the previous determination of listed dams (DI2018-234).